(cover sheet:  Article)

Three-Phase and Six-Phase AC at the Lab Bench

# George M. Caplan

# (Author’s bio)

George M. Caplan is in his eighth year as Instructor in Physics Laboratory at Wellesley College. Before joining the Wellesley faculty, he worked for more than twenty years as a software engineer at Nova Biomedical. In 1993 and 1994, he taught evening physics courses at Massachusetts Bay Community College.

Address:

Department of Physics

Wellesley College

106 Central St.

Wellesley, MA  02481-8203

email:  gcaplan@wellesley.edu

Three-Phase and Six-Phase AC at the Lab Bench

# George M. Caplan

Utility companies generate three-phase electric power, which consists of three sinusoidal voltages with phase angles of 0, 120, and 240 degrees.,  The AC generators described in most introductory textbooks are single-phase generators, so physics students are not likely to learn much about three-phase power. I have developed a simple way to display the waveforms of the three phase power supplied to my lab and to demonstrate some interesting features of three-phase power. The waveform displays require three small transformers, a Vernier LabPro( data-collection device, and a computer; but the demonstrations require only the transformers and some miniature light bulbs. I have also developed a way to demonstrate how six-phase AC can be derived from three-phase AC.

Compared to single-phase power, three-phase power has many advantages. Three-phase transmission lines require fewer wires than an equivalent set of three single-phase lines. For single-phase power, the instantaneous power delivered to a load pulsates, but for three-phase power, it is constant, which decreases generator vibration and increases generator life. Also, three-phase motors are more efficient and more reliable than single-phase motors.

Although single-family houses are usually connected to only one of the three phases, most schools and other large buildings are connected to all three. In my lab, each duplex outlet at a lab bench is wired to one of two phases, and some of the wall outlets are wired to the third phase (see Fig. 1), so I have access to all three phases. I use three small transformers plugged into outlets in my lab, one per phase. The transformers are center tapped and lower the 120 VAC from the outlet to about 7.5 VAC. In each transformer, the primary is electrically isolated from the secondary. This isolation is important for safety. I cannot use "Variacs" or other variable autotransformers in place of the transformers because an autotransformer does not provide the needed isolation.

To show students the waveforms of all three phases, I use a Vernier LabPro data-collection device along with Vernier Logger Pro software and a personal computer.  Figure 2 shows how I connect the three phases to the LabPro. To assure that the peak voltage will not exceed the 10 volt limit of the Vernier voltage probe, I use half of each secondary. (For a transformer output of 7.5 VAC RMS, the peak voltage is (2(7.5 volts ( 10.6 volts.) Figure 3 shows a Logger Pro graph of the three voltages. To create Fig. 3, I set the LabPro's data collection time to 20 milliseconds and the sample rate to 3.333 msecs/sample. To get a graph like Fig. 3, I sometimes have to move one of the red leads in Fig. 2 to the opposite end of a transformer secondary.  In Fig. 3, the period of each waveform is 16.7 msec, which corresponds to the 60 Hz frequency of the alternating current.

Once I have the data shown in Fig. 3, I can calculate the difference between any two of the voltages. I can do the calculation within Logger Pro, or I can first export the data to another program, such as Excel. Figure 4 is a Logger Pro graph of two of the phase voltages and the calculated difference between them. As I can show using phasors or the trigonometric method described in the Appendix, the amplitude of this voltage difference ought to be (3 times the amplitude of either of the voltages, and the phase ought to be π/6 radians.

Using the data shown in Fig. 3, I can also calculate the sum of the three voltages. Figure 5 is a Logger Pro graph of the three voltages and the calculated sum. I can again use phasors or the trigonometry found in the Appendix to show that this sum ought to be zero. The sum in Fig. 5 is not zero because the amplitudes of the three sine waves are not exactly equal.

In commercial wiring, three transformers are often connected in a bank, like the one shown in Fig. 6, with one primary per phase and with the secondaries connected in a "Y". Figure 7 shows how I connect the secondaries of my three transformers in a Y. The common point of the Y connects all of the secondary leads where no voltage probe lead was connected when I used the circuit in Fig. 2 to record the waveforms in Fig. 3; this point is the neutral. With the secondaries connected this way, the voltages VAN, VBN, and VCN shown in Fig. 7 are called phase voltages or line-to-neutral voltages, and the voltages VAB, VBC, and VCA are called line voltages or line-to-line voltages. In my Y-connected circuit, I use the entire secondary of each transformer, so all the line-to-neutral voltages are 7.5 VAC, and all the line-to-line voltages are(3(7.5 VAC. In commercial buildings (in the U.S.), the line-to-neutral voltage is 120 VAC, and the line-to-line voltage is 208 VAC ((3(120=208).  In those buildings, line-to-neutral voltage is available at standard duplex outlets (like the ones in Fig. 1), and the line-to-line voltage is often available at special three-phase outlets like the one shown in Fig. 8.

To demonstrate what happens when three-phase power is applied to a load, I connect three #47 pilot bulbs as shown in Fig. 9. With three bulbs connected this way, equal currents flow through each one, and because of the phase relationship between the currents, no current flows in the neutral wire - a fact well-known to electrical engineers and electricians. (Because the bulbs are of equal resistance, the current waveforms look like the voltage waveforms shown in Fig. 3, and their sum, which flows in the neutral wire, is zero.) In a Y arrangement like this one, the neutral wire can sometimes be eliminated when the load will always be balanced. In the circuit shown in Fig. 9, the load is balanced, and if I remove the neutral wire, nothing changes! When I place an additional bulb in parallel with one of the bulbs and then remove the neutral wire, the paralleled bulbs dim and the others brighten, showing that a current was flowing in the neutral wire and that wire is now needed. Table I lists results for three bulb combinations.

The transformers are center tapped, and for a center tapped transformer, the potential difference between the center tap and one end of the secondary is 180 degrees out of phase with the potential difference between the center tap and the other end. With the center taps connected as shown in Fig. 10, I can use this 180 degree difference to convert three-phase AC to six-phase AC., (The generation of six phases is explained mathematically in the Appendix.) By connecting together all the center taps, I get the original three phases (A, B, and C) and three new phases (D, E, and F). The six line-to-neutral voltages are all 3.75 VAC, but the voltage between any two lines depends on the phase difference between them and can be 3.75 VAC (for 60 degrees),  (3(3.75 VAC (for 120 degrees), or 7.5 VAC (for 180 degrees). Six-phase AC is not just a laboratory curiosity. Six-phase, and even twelve-phase, AC is used when AC is converted to DC for transmission as high voltage DC (HVDC). Six-phase and twelve-phase power transmission lines also have advantages of their own, and experimental transmission lines like the ones shown in Fig. 11 have been built and tested.  A LabPro plot of the six line-to-neutral voltages created using the circuit in Fig. 10 can be found at www.wellesley.edu/Physics/gcaplan along with a description of how I created the plot and a discussion of other methods for viewing the six waveforms.

I thank George Dikmak and Elaine Igo of the Wellesley College Science Center for constructing much of the equipment; Garry Sherman for creating many of the figures; …  … and the Wellesley College physics department for help with expenses.

# APPENDIX

The three voltages, VA, VB, and VC, all have the same amplitude, A, but they differ in phase by  radians (120 degrees), so

(A1)

(A2)

(A3)

The potential difference VA – VB is

.                            (A4)

# Using the trig identity

(A5)

gives

(A6)

(A7)

(A8)

(A9)

(A10)

This shows that the amplitude of VA-VB is (3A and that VA-VB reaches its peak 30 degrees (π/6 radians) before the peak of VA.

# The sum of the three voltages is

.     (A11)

# Using the trig identity

(A12)

gives

,        (A13)

which simplifies to

,                              (A14)

and then

.                                                             (A15)

This shows that the sum of the three voltages is zero.

In addition to VA, VB, and VC, the center tapped transformer can provide VD, VE, and VF where

VD  =  - VA                                                         (A16)

VE  =  - VB                                                         (A17)

VF  =  - VC                                                         (A18)

Combining equations A1, A2, A3, A16, A17, and A18 with the trig identities

(A19)

and

(A20)

gives

(A21)

(A22)

(A23)

showing that VA, VF, VB, VD, VC, and VE are six discrete phases, each one separated from the next by 60 degrees (π/3 radians).

|  | Phase A | Phase B | Phase C | Neutral Wire Installed | Neutral Wire Removed |
| --- | --- | --- | --- | --- | --- |
| 1 | 1 Bulb | 1 Bulb | 1 Bulb | All bulbs equal brightness | Same as with neutral installed |
| 2 | 1 Bulb | 2 Bulbs in parallel | 1 Bulb | All bulbs equal brightness | Parallel bulbs dimmer, others brighter. |
| 3 | No Bulb | 2 Bulbs in parallel | 1 Bulb | All bulbs equal brightness | Parallel bulbs dimmer, other brighter. |

# Table I

Bulb Brightness for Three Configurations of the Circuit in Fig. 9

# Figure Captions

# Fig. 1  Lab outlets that are wired to the three phases of the power line.

Fig. 2.  Schematic diagram of LabPro connection for observing three-phases.

Fig. 3.  Vernier three-phase graph.

# Fig. 4.  Vernier voltage difference graph, showing two of the three phases and the calculated difference between those two.

# Fig. 5.  Vernier voltage sum graph, showing all three phases and their calculated sum.

# Fig. 6.  Bank of three transformers for lowering the voltage of three-phase power before it enters a building. (Photo courtesy of NSTAR.)

# Fig. 7.  Y-connected transformer secondaries. (The common point of the Y connects all of the secondary leads where no voltage probe lead was connected in Fig. 2.)

# Fig. 8.  Three-phase, 208V outlet. (Photo courtesy of Hubbell Wiring Device-Kellems.)

# Fig. 9.  Schematic diagram of pilot bulbs used as load for three-phase power. (Transformer primaries are not shown.)

# Fig. 10.  Schematic diagram of transformer secondaries connected to convert three-phase power to six-phase power.

# Fig. 11.  Six-phase (left) and twelve-phase (right) electric transmission towers. These were constructed in the 1980s at a test site in Malta, NY. (Photo courtesy of the U.S. Department of Energy.)

# Endnotes

E. Hecht, Physics: Calculus, 2nd ed., (Brooks/Cole, Pacific Grove, CA. 2000), p. 843.

E. Hecht, Physics Algebra/Trig, 3rd ed., (Brooks/Cole, Pacific Grove, CA. 2003), p. 745.

D. Halliday, R. Resnick, and J. Walker, Fundamentals of Physics, 8th ed., (John Wiley and Sons, Hoboken, NJ, 2008), p. 836. See also, R. Wolfson and J. M. Pasachoff, Physics for Scientists and Engineers, 3rd ed., (Addison-Wesley, Reading, MA, 1999), p. 813.

Stancor part number P-6466.

The secondary voltage of the transformers is nominally 6.3 VAC, but with no load, the voltage is about 7.5 VAC.

I used Vernier VP-BTA voltage probes which have an input range of   +10 to -10 volts.  The Vernier VP-DIN voltage probe has an input range of 0 to 5 volts and cannot be used.

Instead of moving the red lead at the secondary of the transformer, I could have reversed the wiring to the transformer primary. If a non-polarized, two-wire line cord is used, this can be done by simply reversing the plug at the 120 VAC socket.

See, for example,  R. L. Boylestad, Introductory Circuit Analysis, 11th ed. (Pearson Education, Upper Saddle River, NJ, 2007), p. 1032.

See, for example, R. L. Boylestad, op. cit., p. 1031.

The amplitude inequality is probably caused by slight differences in the transformers. I have measured the input voltage to the transformers and …

See, for example, L. S. Bobrow, Elementary Linear Circuit Analysis, 2nd ed., (Oxford University Press, NY, 1987), p. 414.

See R. L. Boylestad, op. cit., pp. 1030 - 1033. See also L. S. Bobrow, op. cit., pp. 414 - 415.

A.R. Bergen, Power Systems Analysis, (Prentice-Hall, Englewood Cliffs, NJ, 1986), p. 34.

See, for example, R. L. Boylestad, op. cit., p. 1035.

See J. Keljik, Electricity 3 - Power Generation and Delivery, 8th ed., (Thomson Delmar Learning, Clifton Park, NY, 2006), p. 42.

See also P. R. Clement and W. C. Johnson, Electrical Engineering Science, (McGraw-Hill, NY, 1960), p. 568.

See, for example, N. G. Hingorani, "High-voltage DC transmission: A power electronics workhorse," IEEE Spectrum 33(4), 63-72 (April 1996).